Commands:

CX: Definition of the Cryo_X.DAT file (cryo system)

DX: Definition of the PROG_X.DAT file (program params)

LX: Definition of the language, defined in LANGUAGE.DAT

PX: Definition of the Peri_X.DAT file (plotter, printer)

TX: Definition of the task number for DOS under OS2 or WINDOWS

Special definitions:

ENG    : Use of the english text

GER    : Use of the german text

PLOT   : Call for the external presentation plot program

EDIT   : Call for the external edit plot program

NOCRYO : No use of cryo system, no measurement of temperature

NOPERI : Switch off the use of a plotter or printer

SIM    : Simulation program, no measurement possible, works without hardware

IEEE   : Jump to the IEEE command menu and additional as IGNORE

TEST   : Give a report of founded and not founded files at start on the screen

and in the file REP\START.REP

IGNORE : Ignore errors at start. Be carefull with this option!

LOCAL  : User only local instead of network program

OFF    : Switch off use of ramdisk, EMS, ...

NORAM  : Use no ramdisk, although it is installed

MEAS   : Measuring task for OS2 or WINDOWS

EVAL   : Evaluation and simulation task for OS2 or WINDOWS

OLD    : Load the old program version