******************************************************************************

******** Loading of a private overlay or program (Version 3.2.5) *************

******************************************************************************

There is the possibility, to load a private overlay or a private program from

the DLTFS program. You get this option with the F10-key from every menu of

the modules 2 (C/V-I/V-curves), 3 (transient), 4 (isothermal), 6 (tempscan

evaluation) and E (edit plot program). After typing F10 the program will ask

you for the file name of the overlay or program. The extension of the file

name decide, whether you want to load a private overlay (extension OVL) or

an executable program (extension EXE or COM). The overlay or program will

normally be readed from the subdirectory \DLTS\DLTFS\PRG\PRIV. You can change

this default path in the file INIT\USERCONF.IHA.

For the loading of a private overlay or program you need the user class 5 or

higher, a special software option and two special overlays. If it is not in

your program package, please ask your dealer for this option and support.

******************************************************************************

*                  Loading of a private overlay                              *

******************************************************************************

By loading an overlay this overlay becomes a part of the DLTFS program.

Then you have direct access to the variables and procedures of the DLTFS

program. The DLTFS source code is not necessary for this. Because the DLTFS

program is written in MODULA 2 you have to compile your program, or a main

part of your program, in this language. Your OBJ file (Microsoft standard

format) you must link with the MODULA 2 overlay linker. Please ask your

dealer for the support of making private overlays.

******************************************************************************

*              Loading of a private executable program                       *

******************************************************************************

In most cases it is better and easier to load a private executable program.

Because this way is language independent, you can use many compilers.

Also in this case you have in your program access to the main data of the

DLTFS program and can modify these data. But this access is only indirect

by buffers stored on the ramdisk or harddisk. For this you must type some

options after the file name. The syntax is:

NAME.EXE M N Options

Options is an option string for your program, M and N are integer variables

and give the DLTFS system some commands and information.

M = 0 : Nothing

1 : Before the private program will be started, the current data of the

DLTFS program will be saved in buffers on disk.

2 : After the end of the private program the DLTFS buffers will be read.

3 : Action 1 and 2

4 : Before the private program will be started, the DLTFS program tries

to deallocate data on the heap, so you have more memory.

5 : Action 1 and 4

6 : Action 2 and 4

7 : Action 3 and 4

N   0 : Nothing

1 : The system switch the screen into the text mode before loading the

private program.

2 : The system switch the screen into the text mode after loading the

private program.

3 : Action 1 and 2

The free memory size depends on the menu, from which you start your program.

You get the most memory from the main menu of every module. The size is

normally between 100 KB and 300 KB. The last value is the maximum size.

IF you need more memory, you must use EMS memory. But the first 16 pages of

EMS memory (256 kByte) is reserved for the DLTFS program. An other way is

to start a new DOS task from WINDOS or OS 2.

Additional to the private EXE files you can start three other actions with

the call above:

1)    X.STP M N         : Stops the program. Then you can start a new task.

2)    X.DOS M N         : Jump to the DOS command line.

3) NAME.CMD M N Options : Call the DOS command or program NAME.

******************************************************************************

*                  List of files for buffering data                          *

******************************************************************************

IF you dont use a ramdisk the buffer data from the DLTFS program are in the

subdirectory \DLTS\DLTFS\BUFFER. If you use a ramdisk, these data are in the

subdirectory M:\DLTFS\BUFFER, where M is the drive of your ramdisk. The last

extension character depends on your DLTFS task (have a look in the file

HARDCONF\BAT.CON). A is for task 1, B for task 2 and so on. The files for task

2 and higher are always on the harddisk in \DLTS\DLTFS\BUFFER. Normally you

start only one DLTFS program, so that the last extension character of the files

for buffering data is an A. Which buffer file you need, depends on the program

module from which you start your private program.

The important files and there data structure are:

1) Edit plot (module E)          : BUFF.LXA  (global plot data)

BUFFN.LXA (plot data of buffer N)

Data I

2) C/V-I/V-curves (module 2)     : BUFF21.LKA

Header I, Header II, Data II

3) Transients (module 3)         : BUFF31.LYA

Header I, Header III, Data III

4) Isothermal (module 4)         : BUFF41.LTA

Header I, Header II, Data IV

5) Tempscan evaluation (module 6): BUFF61.LTA

Header I, Header II, Data IV

6) Arrhenius data                : BUFF31.LAA (Zerbst Arrhenius, module 3)

BUFF41.LAA (ITS Arrhenius, module 4)

BUFF61.LAA (Maximum Arrhenius, module 6)

Header I, Data VI

******************************************************************************

*                            Data structure                                  *

******************************************************************************

All data are in binary form. In the following list means I an 2-Byte INTEGER,

R a 4-Byte REAL and D a 8-Byte DOUBLE (Real with double precision) value.

AD means an array of DOUBLE values, where the length is definded by the

first and last index (AD : ARRAY [FirstIndex...LastIndex] OF DOUBLE),

AR is the same for an array of REAL and AI for an array of INTEGER:

Header I   : normal 512 Byte data header as descriped in DATA.DOC.

Header II  : 86 Bytes

1) Name of the last loaded data file (78 Byte)

2) ---  (I)

3) ---- (I)

4) First index of the arrays (I)

5) Last index of the arrays (I)

Header III : 324 Bytes

1) Name of the last loaded data file (78 Byte)

2) 246 Bytes for other variables

Data I     :

1) First index of the arrays (I)

2) Last index of the arrays (I)

3) Values of the x-data (AD)

4) Values of the y-data (AD)

Data II    :

1) Values for the voltage data (AD)

2) Values for the capacitance resp. current data (AD)

Data III   : First index = 0, last index defined in Header I (Bytes 64,65)

1) Values for the transient data (AD)

Data IV    : A more detailed explaination of meaning and dimension of the

following values you find in the file DATA.DOC. Lines without

comment have the data structure AD. The second number in the

following table means the position in the PTV-block (see above).

1- 1) Temperature

2- 5) Capacitance at reverse bias

3- 6) Capacitance at pulse voltage

4- 9) Phase delay time

5-10) X1 or numbers of transient points

6-11) X2 or numbers of sampling intervals between pulse and measure

7-12) X3 or sampling interval

8-13) First transient value

9-14) Last transient value

10-19) a1, 1. cosine coefficient

11-20) b1, 1. sine coefficient

12-21) a2, 2. cosine coefficient

13-22) b2, 2. sine coefficient

14-23) a1L = a1 with Tw'=Tw/4

15-24) b1L = b1 with Tw'=Tw/4

16-25) X4, see in DATA.DOC for meaning

17-26) X5

18-27) a1H = a1 with Tw'=Tw/2, t0'=t0+Tw/2

19-28) b1H = b1 with Tw'=Tw/2, t0'=t0+Tw/2

20-29) a1M = a1 with Tw'=Tw/2, t0'=t0+Tw/16

21-30) b1M = b1 with Tw'=Tw/2, t0'=t0+Tw/16

22-31) DR  = Double-rectangular with Tw

23-32) DR4 = Double-rectangular with Tw/4 or Dlts-signal

24-33) reserved (DOUBLE, no array at this time!)

25-35) Factor Digits --> pF,V,uA

26---) Time constant

27---) Amplitude

28---) Class (AI)

29- 2) Reverse bias

30- 3) Pulse voltage

31- 4) Pulse width

32- 7) Leakage current at reverse bias

33- 8) Temperature after measurement

34-15) DC-value before measurement

35-16) DC-value after measurement

36-17) 0. cosine-coefficient

37-18) Rectangular correlator signal

38---) Alternative time constant

39---) Values for the x-axis

40-36) Number relative (AI)

41-37) Flag for index and error (AI)

Data VI    :

1) Last index of the arrays (I), the first index is always 1

2) Temperature (AD)

3) Capacitance at reverse bias resp. rate gm for Zerbst-Arrhenius (AD)

4) Capacitance at pulse voltage resp. rate Gb for Zerbst-Arrhenius (AD)

5) Factor Digits --> pF,V,uA (AD)

6) Amplitude (AD)

7) Time constant (AD)

8) Max-class-flag (AI)

******************************************************************************

*                             Special notes                                  *

******************************************************************************

1) Maximum array size:

Data I   : 0..1024

Data II  : 1.. 400

Data III : 0..1024

Data IV  : 1.. 150, module 4

1.. 300, module 6

Data VI  : 1..  66, module 3 and 4

1.. 396, module 6

2) In the module 3, 4 and 6 the Arrhenius buffer files will be used

additionally to normal buffer files, if you start your program from

the menu 3.1.5.X, resp. 4.1.2.X, resp. 6.1.2.X.